## Introduction
Welcome to the Minnesota Municipal Sustainable Building Policies Inventory
Beginning in 2020, the Center for Energy and Environment and Hennepin County embarked on a process to develop best practice guidelines for city sustainable building policies. To do so, we examined and reviewed existing city policies and held conversations with city staff. The result is the Minnesota Municipal Sustainble Building Policies Guide (https://www.mncee.org/sites/default/files/report-files/MN%20Sustainable%20Building%20Policy%20Guide_updated_2022.02.07.pdf) What follows on the "City Policies" tab of this workbook is a summary of the policies investigated for the guide. The summary is created using available information from city policy documents as of December 2023. The summary is not meant to be exhaustive but merely provide comparison across the various cities. Links to each city policy are provided for more detail.
For questions, please contact Katie Jones, kjones@mncee.org

## City Policies
City | Saint Paul | St. Louis Park | Rochester | Duluth | Eden Prairie | Edina | Maplewood | Minneapolis - Enterprise | Minneapolis - Residential 1-3 | Minneapolis - Multifamily | Northfield
Policy source | Link to download page | Link to download | Link to download | Link to download | Will be uploaded to site January 2024 | Link to download page | Link to view | Link to download | Link to download | Link to download | Link to download page
Name | Sustainable Building Policy | Green Building Policy | Sustainable Building Certification Standards | Sustainability Standards | Sustainable Building Standard | Sustainable Building Policy | Green Building Code | Enterprise Sustainable Building Policy | Minneapolis Homes Sustainability Policy |  | Sustainable Building Policy
Adoption mode | Ordinance | Resolution | Resolution | Resolution |  | Resolution | Ordinance | Resolution | Resolution | Resolution | Resolution
System used | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System* | Third Party Rating System - OR - Point System | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System | National Green Building Standards & International Green Construction Code | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System | City Overlay + Third Party Rating System
Policy trigger mechanism | 1. Project receiving more than $200,000 in City, Housing & Redevelopment Authority (HRA), or public financial assistance 2. Project where City or HRA are or will be the sole tenant 3. Project owned by the City or HRA | 1. Private projects receiving $200,000+ in city financial assistance 2. 1-4 unit residential receiving $10,000+ in city financial assistance 2. Projects receiving approval for land use applications (planned unit development, or project seeking points toward density bonus in zoning code) | Project provided 10+ years of Tax Increment Financing | 1. All new residential development with 3+ units 2. All non-residential development with a gross floor area of 10,000+ sq. ft. | 1. Public buildings owned or operated by the City or Housing Redevelopment Authority (HRA) 2. Private buildings rezoned with Planned Unit Development (PUD) District zoning 3. Private buildings receiving Financial Assistance from the City or HRA | 1. Private Facilities receiving City or Housing & Redevelopment Authority (HRA) Financial Assistance 2. Project rezoned with Planned Unit Development District zoning 3. Project where City or HRA are or will be the sole tenant 4. Public Facilities owned or operated by City or HRA | City-owned and financed buildings as determined by the city manager and approved by the city council | All City owned projects | Project financed through the Minneapolis Homes program | Project is City financed multifamily affordable housing | 1. Projects owned or operated by the City or HRA 2. Projects where the City or HRA are or will be the sole tenant 3. Projects receiving Financial Assistance from the City 3.1. Projects receiving $150,000 - $300,000 in Financial Assistance must comply unless proven it is not feasible. 3.2. Projects receiving $300,000+ must comply
Policy trigger funding source | 1. Community Development Block Grants 2. Tax Increment Financing 3. HOME Investment Partnership Program 4. Multi-Family Housing Revenue Bonds 5. Low-Income Housing Tax Credits 6. Any other Federal, State, or Metropolitan Council funding source 7. Any other City of Saint Paul funding source City financial assistance does not include the following: 1. Department of Employment and Economic Development Cleanup and Investigation Grants 2. Metropolitan Council Tax Base Revitalization... 2.1. Contamination Cleanup Grants 2.2. Site Investigation Grants 3. Conduit Bonds issued for the benefit of qualified 501(c)(3) entities | 1. City of St. Louis Park 2. Housing rehabilitation fund 3. Reinvestment assistance program 4. Revenue bonds (private activity bonds are negotiable) 5. Tax Increment Financing and tax abatement 6. Housing Authority funds (excluding federal funding for rental assistance programs) 7. Affordable housing trust fund 8. Land write-downs | Tax Increment Financing |  | 1. Tax Increment Financing 2. Conduit Bonds 3. Metropolitan Council Livable Communities Grant 4. Hennepin County Grants 5. Other funds that are available to the City and HRA | 1. Tax Increment Financing 2. HRA Funds 3. Metropolitan Council Livable Communities Grant 4. Housing Improvement Area 5. Affordable Housing Trust Fund 6. Conduit Bonds 7. Land write-downs below market value 8. Other funds that are available to the City of Edina and Edina HRA Financial assistance does not include environmental remediation funds, such as: 1. Department of Employment and Economic Development Cleanup and Investigation Grants 2. Met Council Tax Base Revitalization Account (TRBA) Contamination Cleanup Grants 3. Met Council TBRA Site Investigation Grants |  |  | Minneapolis Homes program |  | 1. Tax Increment Financing 2. Northfield Housing & Redevelopment Authority (HRA) 3. Northfield Economic Development Authority (EDA) grants and forgivable loans 4. Land write downs 5. Bonds 6. Tax abatement 7. Low-income housing tax credit 8. Minnesota Investment Fund 9. Conduit financing Financial assistance does not include environmental remediation funds, such as Department of Employment and Economic Development Cleanup and Investigation Grants.
Municipal affected? | Yes | Projects 15,000+ sq. ft. | Yes | Projects 10,000+ sq. ft. | Yes | 1. Projects 10,000+ sq. ft. or more 2. Public facilities owned / operated by the City or HRA 3. Facilities where City or HRA are sole tenant 4. Facilities rezoned with Planned Unit Development District zoning | Yes | Projects 10,000+ sq. ft. |  |  | Yes
Commercial affected? | Yes | Projects 15,000+ sq. ft. | Yes | Projects 10,000+ sq. ft. | Yes | Projects 10,000+ sq. ft. | Voluntary |  |  |  | Yes
Multifamily affected? | Yes | Projects 15,000+ sq. ft. | Yes | Projects of 3+ units | Yes | Developments of 3+ units | Voluntary |  |  | Yes | Yes
Single family affected? | Yes | Projects with 4 or less units | Yes |  | Yes | Yes | Voluntary |  | 1-3 unit residential projects |  | Yes
Industrial affected? | Yes | Projects 15,000+ sq. ft. | Yes | Projects 10,000+ sq. ft. | Yes | Projects 10,000+ sq. ft. | Voluntary |  |  |  | Yes
Parking affected? | Yes |  |  |  |  | Projects 10,000+ sq. ft. | Voluntary |  |  |  | Yes
Renovations & additions affected? | Renovations or additions of 10,000+ sq. ft. and new HVAC required. | Municipal: Renovations or additions of 50,000+ sq. ft. Commercial, multifamily residential, industrial, hotel, and mixed-used construction: 50,000+ sq. ft. |  |  | Additions of 10,000+ sq. ft. and new HVAC required | Municipal: Renovations or additions of 2,500+ sq. ft. and new HVAC required. Non-municipal: Renovations or additions of 10,000+ sq. ft. and new HVAC required. | Voluntary | Renovations and additions and site work on City-owned or leased buildings when project costs are 50%+ of the total building valuation. |  |  | Municipal: Renovations and additions of 2,500+ sq. ft. and new HVAC required. Non-municipal: Renovations and additions of 10,000+ sq. ft. and new HVAC required.
Municipal requirements (select one per subcategory) | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Saint Paul Port Authority Green Design Review | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum* 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. Points (3 points for projects with 10,000 - 25,000 sq. ft. and 4 points for projects with 25,000+ sq. ft.)* | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Certified Compliant | 2012 International Green Construction Code | 1. LEED for New Construction and Major Renovation; Certified Gold 2. State of Minnesota B3 Guidelines; Compliant 3. Passive House US Certified Commercial |  |  | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Certified Compliant
Commercial requirements (select one per subcategory) | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Saint Paul Port Authority Green Design Review | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum* 2. State of Minnesota B3 Guidelines; Certified Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. Points (3 points for projects with 10,000 - 25,000 sq. ft. and 4 points for projects with 25,000+ sq. ft.)* | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Certified Compliant | 2012 International Green Construction Code |  |  |  | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant
Multifamily requirements (select one per subcategory) | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Saint Paul Port Authority Green Design Review 4. GreenStar; Certified Silver, Gold, or Platinum 5. Green Communities; Certified | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum* 2. State of Minnesota B3 Guidelines; Compliant 3. For rental projects with 1+ unit serving resident at or below 60% AMI, Enterprise Green Communities; Certified 4. For affordable housing projects with funding or tax credits through MN Housing, Minnesota Housing overlay using Enterprise Green Communities Criteria; Certified compliant under Enhanced Sustainability Tier 1+ | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. GreenStar; Certified Silver, Gold, or Platinum 4. MN Green Communities - MN Overlay | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. Points (3 points for 3-29 unit projects and 4 points for 30+ unit projects)* | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities - MN Overlay | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities; Certified | 2012 International Green Construction Code |  |  | Enterprise Green Communities; Certified | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities; Certified
Single Family requirements (select one per subcategory) | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. MN Green Communities; MN Overlay | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. GreenStar; Certified Silver, Gold or Platinum 3. MN Green Communities - MN Overlay | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. GreenStar; Certified Silver, Gold or Platinum 3. MN Green Communities - MN Overlay |  | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities - MN Overlay | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities; Certified | CC 700-2008 National Green Building Standards |  | Enterprise Green Communities- MN Overlay |  | 1. LEED for Homes; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Enterprise Green Communities; Certified 4. Greenstar Homes
Industrial requirements (select one per subcategory) | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant 3. Saint Paul Port Authority Green Design Review | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum (must include 13+ points in Energy & Atmosphere: Optimize Performance credit) 2. State of Minnesota B3 Guidelines; Compliant |  | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold or Platinum 2. Points (3 points for projects with 10,000 - 25,000 sq. ft. and 4 points for projects with 25,000+ sq. ft.)* | 1. LEED for New Construction and Major Renovation; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 1. LEED; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant | 2012 International Green Construction Code |  |  |  | 1. LEED; Certified Silver, Gold, or Platinum 2. State of Minnesota B3 Guidelines; Compliant
Parking requirements (select one per subcategory) | Parksmart; Certified Silver or Gold |  |  |  |  | Green Business Certification Inc.'s Parksmart; Certified Silver or Gold | CC 700-2008 National Green Building Standards |  |  |  | Green Business Certification Inc.'s Parksmart; Certified Silver or Gold
Universal equity requirements | [7 empty] | 1. Use City of Minneapolis Racial Equity Impact Analysis 2. Incorporate Universal Design Principles 3. Ensure accessible wayfinding throughout building for all occupants 4. Provide 1+ private-use space 5. Provide chemical inventories of 10+ interior materials 6. Use MN Pollution Control Agency's MNrisk tool to evaluate modeled air quality 7. Implement air quality mitigation for MNrisk sites above 2 8. Install air quality monitoring device with real-time public data capacity 9. Follow Green Zone Development Criteria recommendations for engagement, impact, and benefits
Universal engagement requirements | [7 empty] | Use the City's Racial Equity Impact Analysis
Universal sustainability requirements ("Overlay") | 1. Meet SB 2030 Energy Standard through predicted and actual energy use, predicted greenhouse gas emissions, and ongoing energy monitoring. 2.1. Reduce water use by 30% compared to code. 2.2. Maintain landscape for 50% less water use. 3. Install renewables to meet 2%+ of annual energy needs if it is cost-effective. 4. Provide electric vehicle charging for 20%+ of parking spaces. 5. Divert 75%+ of construction waste from landfill or incinerator. 6. Meet indoor environmental quality requirements as outlined in the St. Paul Overlay 7.1 Implement Best Management Practices from Urban Small Sites Best Management Practices, Protecting Water Quality in Urban Areas, or the Minnesota Storm Water Manual. 7.2. Maintain or increase filtration rates from pre-project conditions 7.3. Make an operation and maintenance plan 8.1. Identify one Priority Shock and one Priority Stressor (from list in Overlay) that could reasonably happen in project's future. 8.2. Develop a strategy to address them. | 1. Install solar to offset 2% of predicted energy demand if solar is sufficient, or subscribe to utility green power or power purchase agreement for 1 year to meet 100% of anticipated energy demand.* 2. Examine feasibility of heat pump technology to heat and cool the building. 3. Install EV charging for short and long-term parking needs. 4.1. Create a material conservation plan that includes a plan to reuse or salvage materials from an existing structure being demolished. 4.2. Create a construction waste management plan.* 4.3. Divert 75%+ of construction material and waste from the landfill. 4.4. For buildings with 5+ units, designate space for collection and hauler servicing of organics. 5.1. For projects with site disturbance 5,000+ sq. ft., implement soil management and erosion control plans.** 5.2. Mimic ins-site landscaped area soils to the physical and biological capabilities of natural and agricultural soils.** 6. Follow the MN Pollution Control Agency Minimal Impact Design Standards to manage stormwater* 7. Comply with Efficient Building Benchmarking ordinance 8. Conduct building commissioning to ensure that newly installed operating systems are at maximum capacity. Commissioning agent must be independent from project designer. 9. Submit a summary report of policy compliance to the Community Development staff at the time of Certificate of Occupancy approval. | 1. Predicted and actual energy use and greenhouse gas emissions 2. Meet SB 2030 Energy Standard through design and operation 3. 50% reduction of water use from traditionally irrigated site 4. Evaluate 2% of on-site renewables, installing if cost-effective 5. Install conduit allowing charging stations to be installed in future 6. Divert 75% of construction waste from landfills and incinerators 7. Install low VOC indoor materials and meet ASHRAE thermal and ventilation minimums 8. Meet stormwater management quantity and quality requirements 9. Document a design response to several potential shocks and integrate into project 10. Participate in City of Rochester's Voluntary Benchmarking for 3 years after construction 11. Above performance standards verified by 3rd party nominated by developer and accepted by City | Each new development is required to achieve at least a minimum number of points. 1.1. Development on previously used/developed land that is contaminated (1.50 points) 1.2. Development on previously used/developed land that is not contaminate (0.75 points) 1.3 Development on undeveloped site that is immediately adjacent to existing city roadway and utility infrastructure that does not require additional public roadway or utility infrastructure (0.25 points) 2.1. Meets ASHRAE standard 189.1 for building envelope design (1.50 points), lighting (0.75 points), or HVAC equipment (0.75 points) 2.2. Meets Energy Start standards for low rise residential or exceed ASHRAE 90.1-2004 energy efficiency standards by 15% (1.00 points) 3.1. Generate or acquire 15%+ electricity needs through alternative energy sources (1.00 points) 3.2. Install solar on 15%+ of home dwelling units contained in one or two-family or townhome dwellings (0.75 points) 3.3. Pre-wire 10%+ of residential dwelling units for solar (0.25 points) 3.4. Install solar panels on primary structure or 50%+ buildings in a multi-building complex (0.75 points) 4.1. Orient 20%+ residential dwelling units or lots within 20% of east-west for maximum solar exposure (1.00 points) 4.2. 20%+ non-residential buildings have one longer axis oriented east-west for maximum solar exposure (1.00 points) 5.1. Install a "cool roof" on the primary structure or 50%+ of all primary buildings in a multi-building complex (1.00 points) 5.2. Install a green vegetated roof on the primary structure or 50%+ of all primary buildings in a multi-building complex (2.00 points) 5.3. Meet ASHRAE standard 189.1 for site water reduction (0.75 points) or building water use reduction (0.50 points) 6. Retain 0.5 inches (0.50 points) or 1.1 inches (0.75 points) of runoff on the site from impervious surfaces post-construction 7.1. Retain 20%+ of existing pre-development native natural vegetation (0.50 points) 7.2. Limit turf grass to 40% of landscaped area (0.25 points) 7.3. Maintain 50+ feet of naturally vegetative buffer from delineated wetlands (0.50 points) 8.1. Provide a fenced, centrally located community garden space (1.00 points) 8.2. Provide 1+ on-site composting station (0.25 points) 9.1. Source 20%+ by cost of structure construction materials from recycled products or products produced within 500 miles of the site (1.50 points) 9.2. Reserve 2%+ of required parking spaces for hybrid/electric/low energy vehicles in preferred locations (0.25 points) | 1. Greenhouse gas emission predictions 2.1 Electric vehicle (EV) charging for multifamily of 5+ units; 5% of spaces ready day 1, 20% of spaces EV-ready, and 20% of spaces EV-capable.* 2.2. EV charging for commercial; 1% of spaces ready day 1, 2% of spaces EV-ready, and 2% of spaces EV-capable.* 2.3. EV charging for office/industrial; 2% of spaces ready day 1, 5% of spaces EV-ready, and 5% of spaces EV-capable.* 2.4. For single family and multifamily with 2-4 units, install one EV-ready space per dwelling. 3.1. Project meets solar-ready standard 3.2. For single family and multifamily with 2-4 units, build roof to meet solar-ready guidelines 3.3. Evaluate providing 5% of building energy load through on-site renewables 3.4. Install on-site renewables if it is cost-effective with simple payback of 15 years. | 1. Greenhouse gas emission predictions. 2.1 Electric vehicle charging capability for 15%+ of parking stalls. 2.2. 5% percent of parking stalls must be Level 2+ at time of construction. 2.3. 10% percent of spaces have conduit dedicated to Level 2+ charging for future. 3.1. For 1-4 unit residential, use US DOE Zero Energy Ready Homes. 3.2. For residential projects with 1+ affordable unit*, equivalent credits in Enterprise Green Communities allowable. (more detail on Edina paper, but original text didn't have more) 3.3. For all other residential and commercial, use B3 Sustainable Building 2030 Energy Standard 4.1. Complete B3 Bird Safe Calculator Worksheet 4.2. Follow MN B3 Part S.5.E. Lights Out Management Procedure 4.3. Report bird strikes using B3 Bird Monitoring Worksheet 4.4. Projects seeking LEED can achieve bird collision deterrence point instead of above requirements. | 1. 75%+ diversion of waste material from landfills 2. Evaluation of existing buildings | 1. Meet SB 2030 Energy Standard and benchmark annually 2.1. Meet 10% of annual energy need on-site thru renewables if cost effective 2.2. Be built to solar-capable standards 3.1. Provide electric vehicle-ready infrastructure for all parking spaces 3.2. Provide electrical capacity to charge 20% of all parking spaces 4.1. Install metering to track all water use and benchmark with B3 4.2. Reduce water use by 50% compared to code 5.1. Assess site hazards and implement design response 5.2. Assess site for renewable energy and storage if backup energy required 6.1. Design landscape to require no potable or harvested ground water for irrigation (after 2-year establishment, excluding program area turf grasses and annuals) 6.2. Sub-meter irrigation 6.3. Meet requirements of City of Minneapolis Stormwater and Sanitary Sewer Guide 6.4. Assess Whole Building Threat Factor for bird strikes (meeting ratings of 15 or less for critical sites and 45 or less for non-critical sites) 6.5. Project site area is greater of 25%+ native plants (excluding building footprint), or 70% (excluding building footprint and code-minimum parking) 6.6. Biochar and compost incorporated into landscaping whenever possible 6.7. Use plants free from detectable neonicotinoids and pollinator species when possible 6.8. Maintain aggregate illumination levels of lighting zone under the International Dark-Sky Association Model Lighting Ordinance 6.9. Follow Lights Out management program 6.10. Use all available roof area as sustainable roofing zone 7.1. Use Construction Management Indoor Air Quality Management Plan if building occupied during construction 7.2. Achieve more stringent of required ventilation rates of ASHRAE 62.1 or Minnesota State Code 7.3. Meet performance criteria of ASHRAE 55 7.4. Set heating and cooling setpoints to City's Indoor Safe Temperature Policy 7.5. All new interior materials comply with California Department of Health's Standard Method for low VOC 7.6. Meet composite sound transmission class or noise isolation class for levels of acoustic privacy by space 7.7. Meet ASHRAE Handbook standard for HVAC system noise levels 7.8. Provide secure storage for non-motorized vehicles to accommodate 20%+ of regular building occupants and 5% of guests 7.9. For buildings with 10+ regular occupants, provide showers, changing facilities, and lockers for 5%+ of regular building occupants 7.10. Provide at least one easily located staircase 8.1. Perform life cycle carbon assessment and reduce embodied emissions by 10% from baseline 8.2. Provide dedicated space and infrastructure for recycling and organics collection 8.3. Track and report annual waste volume and costs 8.4. Design spaces for office material re-use, collection of "other" recyclables, unused building materials. Designate food prep spaces for dishwashers and water filling. 8.5. Divert 80% of concrete and asphalt waste, reclaim 10% of material, divert 85% of non-hazardous material, and send woody debris to biochar 8.6. Install environmentally preferable materials for 55% of total building materials | Minimum efficiency standards of DOE Zero Energy Ready Homes |  | 1. Predicted greenhouse gas emissions, calculated from predicted energy use. Sustainability rating system modeling and utility emission factors can be used. 2.1. Energy efficiency standards: 2.2. For 1-4 unit residential projects, US DOE's Zero Energy Ready Homes 2.3. For all other residential and commercial projects, Sustainable Buildings 2030 3. Evaluate providing 2% of building energy with on-site renewables. Install if cost-effective with 15 year payback following Sustainable Buildings 2030.
Notes |  | *Must include 13+ points in Energy & Atmosphere: Optimize Performance credit **Not required for projects certifying under the State of Minnesota B3 Guidelines. Renovations may also be exempted with staff approval. | * Proposed developments receive higher priority for funding if proposals meet one of these standards | *Points available for activities related to location, energy efficiency, alternative energy, passive solar, water, stormwater, additional water retention, vegetation, urban agriculture, and transportation. Visit 50-29 Sustainability Standards document for details. | * Five level 2 chargers may be substituted with one direct current fast charger. Nursing homes, assisted living, memory care, or convalescent care must install one accessible EV charger for visitors and staff, but are otherwise exempt. | * An affordable unit serves residents at or below 60% AMI for rental buildings and at or below 80% AMI for for-sale buildings.
Note on C17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GreenStar not mentioned